Permit Reviewer:	Brooke Larman	2831-2011-CG-01

Telephone Number:	(301) 952-5548	April 22, 2011

Fax Number:	(301) 952-4141	Tele-Sprint/ 6707 Eads Street

The following comments were generated from permit review.  Any questions or concerns regarding the following should be directed to the reviewer at the phone number provided above.  Further comments may be generated when the appropriate information has been submitted.

- Per Environmental Planning. HOLD.  Need to demonstrate compliance with the woodland conservation ordinance by providing a copy of a valid exemption letter in the permit package.  Need to contact Ernest Fields at ernest.fields@ppd.mncppc.org or at 301-952-4312 for more information on this comment.  04-28-11 Comment Stands. BEL.  05-04-11 Comment Satisfied. Okay per Exemption Letter. BEL

- Need to revise the site plan to demonstrate the Industrial Zone which is 27-475.06.02 not the commercial zone since the tower and compound are located in the I-1 zone.  04-28-11 Comment Satisfied. Industrial section shown. BEL

- Need to revise the site plan or submit a separate detail plan of the proposed equipment cabinet, antennas and any other work that may be proposed.  04-28-11 Comment Satisfied. Detail shown. BEL

- Need to submit a compound plan to demonstrate all existing and proposed cabinets, the height and type of screening and the location of the existing monopole within the compound.  04-28-11 Comment Satisfied. Compound plan submitted. BEL

- Need to submit a detail of the monopole to include the overall height and the location of all existing and proposed antennas and their height. 04-28-11 Comment Satisfied. Detail shown. BEL

- This site has an existing Alternative Compliance, AC-90092 on it. Need to submit one copy of this approved AC plan for conformance of landscaping.  You may contact the Park & Planning Information Service Office at 301-952-3195 or 3208 to obtain a copy.  04-28-11 Comment Satisfied. AC plan shown. BEL

- Need to submit a copy of the approved TTFCC application with the date and stamp of with or without reservations.  You may contact Clarence Moseley at 301-883-5913 to obtain a copy.  04-28-11 Comment Stands. BEL.  05-04-11 Comment Stands. BEL.  05-09-11 Comment Satisfied. Okay per TTFCC submitted. BEL

- Further review will continue once I have received the revised site plan and information. 04-28-11 Comment Stands. BEL. 05-09-11 Comment satisfied. All comments complied too. BEL

04-22-11-Comments emailed to Rick Woods at rwoods@sbasite.com BEL

04-28-11-Comments emailed to Rick Woods at rwoods@sbasite.com BEL

05-04-11-Comments emailed to Rick Woods at rwoods@sbasite.com BEL

05-09-11-APPLICATION APPROVED. BEL