Permit Reviewer:	Dana Bressler	Permit Number 15769-2016-R-00

Telephone Number:	(301) 883-5948	Scott Solar Panel

Fax Number:	(301) 883-7150	April 15, 2016

The following comments were generated from permit review.  Any questions or concerns regarding the following should be directed to the reviewer at the phone number provided above.  Further comments may be generated when the appropriate information has been submitted.

1. Per Section 27-254 Must submit a certified site plan, drawn to scale showing: A) The lot on which the building is proposed to be erected or used, including lot dimensions, lot and block numbers, and subdivision name (if any); B) Names and widths of abutting streets; C) Locations, dimensions, height and setbacks of existing and proposed buildings and other structures on the lot. 6/28/16 – Comments still stand – 8/18/16 – Comments partially satisfied, still need to show dimensions of structure

2. Per Section 27-442(I), Table VIII, Structure must be located 30' from side street line (along which an abutting lot fronts). 6/28/16 – Comments still stand – 8/18/16 – Comments partially satisfied, still need to show dimensions of structure and make sure setbacks & structure add up to 75’ (width of lot)

3. Accessory structure(s) must be subordinate to the main structure (meaning it has to be smaller than the main house in square footage, the house being 1152 square feet). Please clearly indicate the size of the solar panel field. 6/28/16 – Comments still stand

4. Any questions regarding status of permit or uploading of documents can be directed to eplan@co.pg.md.us.

7/7/16 – Comments still stand. Brooke spoke to Robert Tully on phone and he understands what is required

4/15/16 – Placed on Hold in Project.Dox